## Slide 1: Biweekly Update Presentation 05
Berkay Ipek – ARPLab 04/09/2025

## Slide 2: Outline
What is done
  Final Checking
    Number of Harmonics Problem
  Approaching an ideal calibration
Plans for the next weeks
  PRBS Signal Reading cont.

## Slide 3: Final Checking : Set Up

## Slide 4: Final Checking – Set Up
Purpose: Based on previous results, using a polynomial order of 9 and a memory order of 5 provides approximately 80 dB THD at 2 GHz, which matches our target. We need to verify whether this configuration is suitable for other frequencies as well.
Step 1: Take the signal of input and output @ 1 GHz, 1.5GHz and 2 GHz.
Step 2: Perform calibration with varying memory orders while keeping the polynomial order fixed at 9.
Step 3: Calculate THD values for the input, output and calibrated waveforms.
Step 4: Plot and compare all results in a plot.

## Slide 5: Final Checking: Results

## Slide 6: Final Checking - Results

## Slide 7: Final Checking - Results

## Slide 8: Final Checking: Problem @1.5 GHz

## Slide 9: Final Checking - Problem @1.5 GHz
Here is the output voltage waveform :

## Slide 10: Final Checking - Problem @1.5 GHz
Here is the output voltage waveform :

## Slide 11: Final Checking - Problem @1.5 GHz
What about @ 2 GHz:

## Slide 12: Final Checking - Problem @1.5 GHz
Here is the output voltage waveform :

## Slide 13: Final Checking - Problem @1.5 GHz
Therefore, calibration seems that it does not working @ 1.5 GHz:

## Slide 14: Final Checking: Solution @1.5 GHz

## Slide 15: Final Checking - Solution @1.5 GHz
thd(calibratedWave, fs, #ofHarmonics, ‘aliased’); where #ofHarmonics = 15

## Slide 16: Final Checking - Solution @1.5 GHz
thd(calibratedWave, fs, #ofHarmonics, ‘aliased’); where #ofHarmonics = 9

## Slide 17: Final Checking: Set Up - Revised

## Slide 18: Final Checking: Set Up - Revised
Purpose: Based on previous results, using a polynomial order of 9 and a memory order of 5 provides approximately 80 dB at 2 GHz, which matches our target. We need to verify whether this configuration is suitable for other frequencies as well.
Step 1: Take the signal of input and output @ 1 GHz, 1.5GHz and 2 GHz.
Step 2: Perform calibration with varying memory orders while keeping the polynomial order fixed at 9.
Step 3: Calculate THD values for the input, output and calibrated waveforms. (#ofHarmonics is 9 @1.5 GHz, 15 otherwise)
Step 4: Plot and compare all results in a plot.

## Slide 19: Final Checking: Results - Revised

## Slide 20: Final Checking – Results - Revised

## Slide 21: Approaching an ideal calibration: Set Up

## Slide 22: Final Checking – Set Up
Purpose: We want to make sure that the signal can be .
Step 1: Take the signal of input and output @ 1 GHz, 1.5GHz and 2 GHz.
Step 2: Perform calibration with varying memory orders while keeping the polynomial order fixed at 9.
Step 3: Calculate THD values for the input, output and calibrated waveforms.
Step 4: Plot and compare all results in a plot.

## Slide 23: Final Checking: Results

## Slide 24: Plans for the next weeks

## Slide 25: Plans for the next weeks
Now, we decided which order is going to be used.
For the next week, implementation in digital domain will be analyzed and discussed.